## Slide 1
Gary Bender
Founder & CEO - The CFO Solution
www.thecfosolution.org
gbender@thecfosolution.org
215.421.8291
PCS Group Forum
March 16, 2022

## Slide 2: March 16th Agenda
Today’s session
How to reduce energy usage and how to reduce the cost you pay for energy!
Welcome our guest-Loretta Ottinger of
Suntuity Energy
We thought it was a timely topic.
Think about your budget assumptions because I am sure they were optimistic!

## Slide 3: How to reduce energy usage
And how to reduce the costs that you pay for power and natural gas

## Slide 4: Timely topic
Regardless of the costs, always better to use less
Few (plant manager, procurement and CFOs) know how to measure (or reduce) usage of power or natural gas
Best practice-get an assessment done-often free by either utility or an advisor
Lighting, controls, insulation, efficiency, etc.

## Slide 5: Where to look?
Plant, conference room, parking lot, warehouse or office lights more than 7 years old-couple of year payback by upgrade. Halogen or fluorescents to LED
Behavior patterns
Old motors, compressors, even tools.
Consider a controls upgrade-motion detectors, time controls, brightness controls, zones, etc.

## Slide 6: Other usage reductions
Do a clean sheet analysis-power, gas or oil? Do you know what you spend?
Do you understand your bill?
Consider:
Conditioned air versus air conditioning?
Humidity control vs. cold air?
Fans vs air conditioning?
Boiler efficiency/ mini boilers
Heating or cooling mini zones?

## Slide 7: Get educated
Do you understand PEAK power portion of your power bill? Reduce the peak load and save every day!
Get an expert to analyze your power demand and make recommendations. We can help with introductions.
Controls and some basic timelines are key and easy to do!

## Slide 8: Examples
LED lighting-two or three generation improvement in last ten years. 30% reductions very possible, sometimes more.
Integrate zones and timing controls for 50% reductions and two year paybacks.
Inlet air temp to air chiller reduction-huge savings in AC capital and operating costs
20 degree reductions are huge!

## Slide 9: More examples
Use energy investment funding/ lenders
Low rates, subordinated and designed to be self funding by matching savings and term.
National platform-from several $k to $250k
Direct to client loans.
Glad to introduce you to NEIF!
Use incentives from your utility or your new supplier!
Consider solar-rooftop is free space, more efficient and panels are cheaper

## Slide 10: Suntuity
Welcome to Loretta Ottinger

## Slide 11: How to reduce costs
Reduce usage then reduce cost per unit
Deregulated states are the focus
Ohio to Maine plus Illinois
Plus gas only in Colorado, Fla. and Cal.
Get a partner to review bills from each location. Free assessment!
Retro utility bill adjustments occur!
Procurement does not know this stuff!

## Slide 12: Examples
PPL just had a 33% in Jan. In your budget? Of course not!
Deregulated power up about 8% in Pa.
Still buying from the utility?
Did you even know you could?
Fewer suppliers in natural gas to your bldg. but there are contract options and savings options.
Case studies on our website.

## Slide 13: PPL examples
Rate was 8.9 cents per kwh
Example-mall was paying $90k now $81k with five year fixed rate at 8.19 cents about a 10% saving.
Manufacturer now paying 7.1 cents with 36 months fixed rate. Almost 20% base savings plus fixed rate protection from increases.
Do you recall that PPL just raised rates 33%? Pretty smart CFO!
PECO example
Current rate is 6.39 cents
Nursing home paying 5.82 for 36 months fixed
Why use a partner?
Partner manages the contract language(such as swing language and load management clauses), advises on market conditions and outlook. None of which Procurement understands or should understand!
If you are spending at least 1k month do this!

## Slide 14: Natural Gas Pa example
Industrial user in Eastern Pa (UGI)
Was paying 61cents ($6k gas cost per month) reduced to 51cents-a 15%savings.
Same pipe, same delivery, different supplier and still delivered by UGI

## Slide 15: Summary
Again –GET AN ADVISOR PARTNER
DO NOT expect Procurement to understand utilities-procurement is for strategic materials and services at best price, quality, service.
Outsource specialty purchasing such as
telecom, utilities, shipping, supplies,
healthcare, 401k, business insurance, etc.